## 2019
2019 Eaton Catalog
2019 | Product Part Number | Product Description | List Price | DIR Discount
ePDU's | ePBZ78 | EATON EPDU BASIC 24A IN: L5-30P OUT: 20 X 5-20R | 333 | 40%
| ePBZ79 | EATON EPDU BASIC 24A IN: L6-30P OUT: 16 X C13 + 4 X C19 | 360 | 40%
| ePBZ82 | EATON EPDU BASIC 16A IN: L5-20/5-20P OUT: 12 X 5-20R | 174 | 40%
| ePBZ83 | EATON EPDU BASIC 12A IN: 5-15P OUT: 12 X 5-15R | 117 | 40%
| ePBZ84 | EATON EPDU BASIC 24A IN: L5-30P OUT: 10 X 5-20R | 292 | 40%
| ePBZ85 | EATON EPDU BASIC 16A IN: 5-20P OUT: 12 X 5-20R | 174 | 40%
| ePBZ86 | EATON EPDU BASIC 12A IN: 5-15P OUT: 12 X 5-15R | 117 | 40%
| ePBZ88 | EPDU VAL BA C20, C13-10 C19-2 | 191 | 40%
| ePBZ91 | Eaton ePDU Basic 24A IN: L6-30P OUT: 10 x C13 | 275 | 40%
| ePBZ94 | EPDU VAL BA L6-30 C19-6 | 295 | 40%
| ePBZ95 | EPDU VAL BA L6-20C13-12 C19-1 | 174 | 40%
| ePBZ99 | EPDU VAL BA L5-20 5-20-8,4 | 153 | 40%
| PW101BA1U140 | EPDU, BA, 1U, 5-15P, (12) 5-15R | 293 | 40%
| PW102BA1U158 | EPDU, BA, 1U, 5-20P, (12) 5-20R | 296 | 40%
| PW102BA1U159 | EPDU, BA, 1U, L5-20P, (12) 5-20R | 308 | 40%
| PW103BA1U190 | EPDU, BA, 1U, L5-30P, (12) 5-20R | 323 | 40%
| PW103BA1U405 | EPDU, BA, 1U, C20, (16) C13 | 280 | 40%
| PW103BA1U406 | EPDU, BA, 1U, L6-30P, (16) C13 | 483 | 40%
| PW105BA1U163 | EPDU, BA, 1U, L6-30P, (12) C13 | 448 | 40%
| PW105BA1U192 | EPDU, BA, 1U, L6-30P, (8) C13, (4) C19 | 479 | 40%
| PW105BA2U420 | EPDU, 2U, BA, L6-30P (4) L6-20R | 669 | 40%
| ePBZ71 | EATON EPDU BASIC 16A IN: 5-20P/L5-20R OUT: 30 X 5-15/20R | 341 | 40%
| ePBZ72 | EATON EPDU BASIC 16A IN: 5-20P/L5-20R OUT: 18 X 5-15/20R | 256 | 40%
| ePBZ73 | EATON EPDU BASIC 15A IN: 5-15P OUT: 18 X 5-15R | 183 | 40%
| ePBZ74 | EATON EPDU BASIC 16A IN: 5-20P/L5-20R OUT: 14 X 5-15/20R | 219 | 40%
| ePBZ75 | EATON EPDU BASIC 12A IN: 5-15P OUT: 14 X 5-15R | 147 | 40%
| ePBZ77 | EATON EPDU BASIC 16A IN: L5-20P/5-20P OUT: 24 X 5-20R | 269 | 40%
| ePBZ80 | EATON EPDU BASIC 24A IN: L6-30P OUT: 30 X C13 + 6 X C19 | 375 | 40%
| ePBZ89 | EPDU VAL BA C14 C13-16 | 159 | 40%
| ePBZ90 | Eaton ePDU Basic 24A IN: L5-30P OUT: 24 x 5-20R | 354 | 40%
| ePBZ93 | EPDU VAL BA L6-20 C13-20 C19-4 | 305 | 40%
| ePBZ96 | EPDU VAL BA L5-20 5-20-24 | 244 | 40%
| ePBZ97 | EPDU VAL BA 5-20 5-20-24 | 244 | 40%
| ePBZ98 | EPDU VAL BA 5-15 5-15-18 | 147 | 40%
| PW105BA0U412 | EPDU, BA, 0U, L14-30P, (12) 5-15R | 404 | 40%
| EFLXI3000R-PDU1UIEC | EPDU, BA, 1U, C20, (12) C13, (1) C19 | 214 | 40%
| EFLXL1500R-PDU1U | EPDU, BA, 1U, 5-15P, (12) 5-15R, (1) C19 | 130 | 40%
| EFLXL2000R-PDU1U | EPDU, BA, 1U, 5-20P, (12) 5-20R | 141 | 40%
| EFLXL2000R-PDU1UL | EPDU, BA, 1U, 5-20P, (5) L5-20R | 175 | 40%
| EHBPL1500R-PDU1U | EPDU, BA, 1U, 5-15P, (6) 5-15R | 311 | 40%
| EHBPL2000R-PDU1U | EPDU, BA, 1U, 5-20P, (6) 5-20R | 372 | 40%
| EHBPL3000R-PDU1U | EPDU, BA, 1U, L5-30P, (5) 5-20R | 540 | 40%
Racks | RSV4260B | Enclosure,42U, 600mm W x 1000mm D Black | 2035 | 40%
| RSV4260W | Enclosure,42U, 600mm W x 1000mm D White | 2035 | 40%
| RSV4280B | Enclosure,42U, 800mm W x 1000mm D Black | 2498 | 40%
| RSV4280W | Enclosure,42U, 800mm W x 1000mm D White | 2498 | 40%
| RSV4560B | Enclosure,45U, 600mm W x 1000mm D Black | 2344 | 40%
| RSV4560W | Enclosure,45U, 600mm W x 1000mm D White | 2344 | 40%
| RSV4580B | Enclosure,45U, 800mm W x 1000mm D Black | 2807 | 40%
| RSV4580W | Enclosure,45U, 800mm W x 1000mm D White | 2807 | 40%
| RSV4860B | Enclosure,48U, 600mm W x 1000mm D Black | 2550 | 40%
| RSV4860W | Enclosure,48U, 600mm W x 1000mm D White | 2550 | 40%
| RSV4880B | Enclosure,48U, 800mm W x 1000mm D Black | 3013 | 40%
| RSV4880W | Enclosure,48U, 800mm W x 1000mm D White | 3013 | 40%
| RSV5260B | Enclosure,52U, 600mm W x 1000mm D Black | 2859 | 40%
| RSV5260W | Enclosure,52U, 600mm W x 1000mm D White | 2859 | 40%
| RSV5280B | Enclosure,52U, 800mm W x 1000mm D Black | 3322 | 40%
| RSV5280W | Enclosure,52U, 800mm W x 1000mm D White | 3322 | 40%
| ETN-ENC422442SE | EATON S-SERIES RACK 42UX24"X42" NO SIDES, DOORS, CASTORS | 2048 | 40%
| ETN-ENC422442S | EATON S-SERIES RACK 42UX24"X42" W/DIVIDER, CASTORS | 4211 | 40%
| ETN-ENC422448S | EATON S-SERIES RACK 42UX24"X48" W/DIVIDER, CASTORS | 4378 | 40%
| ETN-ENC423042S | EATON S-SERIES RACK 42UX30"X42" W/DIVIDER, CASTORS | 5004 | 40%
| ETN-ENC423048S | EATON S-SERIES RACK 42UX30"X48" W/DIVIDER, CASTORS | 4543 | 40%
| ETN-ENC482442S | EATON S-SERIES RACK 48UX24"X42" W/DIVIDER, CASTORS | 3904 | 40%
| ETN-ENC483042S | EATON S-SERIES RACK 48UX30"X42" W/DIVIDER, CASTORS | 4835 | 40%
| ETN-ENC482448S | EATON S-SERIES RACK 48UX24"X48" W/DIVIDER, CASTORS | 4178 | 40%
| ETN-ENC483048S | EATON S-SERIES RACK 48UX30"X48" W/DIVIDER, CASTORS | 5232 | 40%
| ETN-ENC422442SB | EATON S-SERIES RACK 42UX24"X42" W/SIDE PANELS, CASTORS | 5007 | 40%
| ETN-ENC422442SC | 42UX24"X 42" W/DOORS/SIDES/TOP/LEVELERS (NO CASTORS) | 4522 | 40%
| ETN-ENC423042SC | 42UX30"X 42" W/DOORS/SIDES/TOP/LEVELERS (NO CASTORS) | 5679 | 40%
| ETN-ENC422442SD | 42UX24"X 42" W/DOORS/TOP/LEVELERS, NO SIDES/DIVIDER/CASTORS | 3708 | 40%
| ETN-ENC423042SD | 42UX30"X 42" W/DOORS/TOP/LEVELERS, NO SIDES/DIVIDER/CASTORS | 4451 | 40%
| ETN-ENC422442SL | 42UX24"X 42" W/DOORS/SIDES/TOP/LEVELERS/CASTORS/COMBO LOCK | 5409 | 40%
| ETN-ACC4242DP | S-SERIES DIVIDER PANEL 42U X 42D W/PASS-THRU (QTY-1) | 269 | 40%
| ETN-ACC4248DP | S-SERIES DIVIDER PANEL 42U X 48D W/PASS-THRU (QTY-1) | 285 | 40%
| ETN-ACC4842DP | S-SERIES DIVIDER PANEL 48U X 42D W/PASS-THRU (QTY-1) | 280 | 40%
| ETN-ACC4848DP | S-SERIES DIVIDER PANEL 48U X 48D W/PASS-THRU (QTY-1) | 298 | 40%
| ETN-ACC4242SP | S-SERIES SIDE PANEL 42U X 42D (QTY-1) | 537 | 40%
| ETN-ACC4248SP | S-SERIES SIDE PANEL 42U X 48D (QTY-1) | 649 | 40%
| ETN-ACC4842SP | S-SERIES SIDE PANEL 48U X 42D (QTY-1) | 541 | 40%
| ETN-ACC4848SP | S-SERIES SIDE PANEL 48U X 48D (QTY-1) | 541 | 40%
| ETN-ACC2442TP | S-SERIES TOP PANEL 24W X 42D | 352 | 40%
| ETN-ACC2448TP | S-SERIES TOP PANEL 24W X 48D | 368 | 40%
| ETN-ACC3042TP | S-SERIES TOP PANEL 30W X 42D | 374 | 40%
| ETN-ACC3048TP | S-SERIES TOP PANEL 30W X 48D | 380 | 40%
| ETN-ACC4224FD | S-SERIES FRONT DOOR 42U X 24W | 460 | 40%
| ETN-ACC4224RD | S-SERIES REAR DOOR SPLIT 42U X 24W | 734 | 40%
| ETN-ACC4230FD | S-SERIES FRONT DOOR 42U X 30W | 493 | 40%
| ETN-ACC4230RD | S-SERIES REAR DOOR SPLIT 42U X 30W | 748 | 40%
| ETN-ACC4824FD | S-SERIES FRONT DOOR 48U X 24W | 479 | 40%
| ETN-ACC4824RD | S-SERIES REAR DOOR SPLIT 48U X 24W | 772 | 40%
| ETN-ACC4830FD | S-SERIES FRONT DOOR 48U X 30W | 533 | 40%
| ETN-ACC4830RD | S-SERIES REAR DOOR SPLIT 48U X 30W | 807 | 40%
| ETN-ACC4224RL | S-SERIES RAILS 42U X 24W | 426 | 40%
| ETN-ACC4230RL | S-SERIES REDUCER RAILS 42U X 30W | 751 | 40%
| ETN-ACC4824RL | S-SERIES RAILS 48U X 24W | 465 | 40%
| ETN-ACC4830RL | S-SERIES REDUCER RAILS 48U X 30W | 714 | 40%
| ETN-ACC42VBP | S-SERIES VERTICAL BLANKING PANELS 42U | 288 | 40%
| ETN-ACC48VBP | S-SERIES VERTICAL BLANKING PANELS 48U | 340 | 40%
| ETN-PBP1U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 1U (QTY-10) | 78 | 40%
| ETN-PBP1U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 1U (QTY-100) | 588 | 40%
| ETN-PBP2U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 2U (QTY-10) | 124 | 40%
| ETN-PBP2U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 2U (QTY-100) | 935 | 40%
| ETN-PBP8U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 8U (QTY-10) | 335 | 40%
| ETN-PBP8U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 8U (QTY-100) | 2522 | 40%
| ETN-JFT12440 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 24" X 42", 120VAC | 402 | 40%
| ETN-JFT12445 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 24" X 48", 120VAC | 438 | 40%
| ETN-JFT13040 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 30" X 42", 120VAC | 418 | 40%
| ETN-JFT13045 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 30" X 48", 120VAC | 454 | 40%
| ETN-FLRGR118 | EATON FLOOR GROMMET, 11"W X 8.25"D (QTY-1) | 124 | 40%
| ETN-FLRGR11810 | EATON FLOOR GROMMET, 11"W X 8.25"D (QTY-10) | 1169 | 40%
| ETN-FLRGR76 | EATON FLOOR GROMMET, 7.5"W X 6.5"D (QTY-1) | 93 | 40%
| ETN-FLRGR7610 | EATON FLOOR GROMMET, 7.5"W X 6.5"D (QTY-10) | 866 | 40%
| ETN-FS19201U20 | EATON SHELF FIXED 19" 1U X 20"D 200LBS | 142 | 40%
| ETN-FS19201U40 | EATON SHELF FIXED 19" 1U X 20"D 400LBS | 157 | 40%
| ETN-FS19241U20 | EATON SHELF FIXED 19" 1U X 24"D 200LBS | 147 | 40%
| ETN-FS19241U40 | EATON SHELF FIXED 19" 1U X 24"D 400LBS | 168 | 40%
| ETN-FS19281U20 | EATON SHELF FIXED 19" 1U X 28"D 200LBS | 152 | 40%
| ETN-FS19281U40 | EATON SHELF FIXED 19" 1U X 28"D 400LBS | 174 | 40%
| ETN-RS19241U10 | EATON SHELF ROLL-OUT 19" 1U X 24"D 100LBS | 546 | 40%
| ETN-RS19242U20 | EATON SHELF ROLL-OUT 19" 2U X 24"D 200LBS | 505 | 40%
| ETN-RS19281U10 | EATON SHELF ROLL-OUT 19" 1U X 28"D 100LBS | 556 | 40%
| ETN-RS19282U20 | EATON SHELF ROLL-OUT 19" 2U X 28"D 200LBS | 531 | 40%
| ETN-CHASBKT2032 | EATON CHASSIS SUPPORT BRACKETS ADJ 19" (20"-32") 400 LBS. | 346 | 40%
| EAUS192U1605 | EATON 19" UTILITY SHELF, 2 POST MOUNTING | 135 | 40%
| ETN-LACEB42U03 | EATON S-SERIES LACING BAR 42U X 3"W | 72 | 40%
| ETN-LACEB42U08 | EATON S-SERIES LACING BAR 42U X 8"W | 155 | 40%
| ETN-LACEB42U12 | EATON S-SERIES LACING BAR 42U X 12"W | 189 | 40%
| ETN-LACEB48U03 | EATON S-SERIES LACING BAR 48U X 3"W | 103 | 40%
| ETN-LACEB48U08 | EATON S-SERIES LACING BAR 48U X 8"W | 168 | 40%
| ETN-LACEB48U12 | EATON S-SERIES LACING BAR 48U X 12"W | 215 | 40%
| ETN-PWRBAR42U | EATON S-SERIES POWER MOUNTING BAR 42U X 9"W | 149 | 40%
| ETN-PWRBAR48U | EATON S-SERIES POWER MOUNTING BAR 48U X 9"W | 146 | 40%
| ETN-PDUBRCKTW | EATON S-SERIES PDU MOUNTING BRACKETS | 81 | 40%
| ETN-CMDRNR031U | EATON CABLE D-RING KIT 1U (QTY-4) | 32 | 40%
| ETN-CMDRNR032U | EATON CABLE D-RING KIT 2U (QTY-4) | 33 | 40%
| ETN-STLDRING | EATON CABLE D-RING KIT, PLASTIC, (QTY-4) | 155 | 40%
| ETN-CMTUNR02 | EATON FIBER SPOOL 2.5"H | 72 | 40%
| ETN-CMTUNR05 | EATON FIBER SPOOL 5"H | 72 | 40%
| ETN-BX45V8 | EATON VELCRO STRAP 8"L, (QTY-50) | 117 | 40%
| ETN-BX45V11 | EATON VELCRO STRAP 11"L, (QTY-50) | 140 | 40%
| ETN-CMVBCKL | EATON VELCRO BUCKLE STRAP 9"L, (QTY-10) | 97 | 40%
| ETN-CMVBCKL12 | EATON VELCRO BUCKLE STRAP 12"L, (QTY-10) | 101 | 40%
| ETN-CMRB19022U | EATON CABLE STRAIN RELIEF BAR 2"D | 91 | 40%
| ETN-CMRB19042U | EATON CABLE STRAIN RELIEF BAR 4"D | 102 | 40%
| ETN-CMRB19062U | EATON CABLE STRAIN RELIEF BAR 6"D | 107 | 40%
| ETN-CMRB19082U | EATON CABLE STRAIN RELIEF BAR 8"D | 111 | 40%
| ETN-CMPD19031U | EATON HORIZONTAL RING MANAGER 1U | 50 | 40%
| ETN-CMPD19032U | EATON HORIZONTAL RING MANAGER 2U | 52 | 40%
| ETN-CMBPBRSH1U | EATON CABLE PASS-THRU PANEL 1U W/BRUSH | 81 | 40%
| ETN-CMBPBRSH2U | EATON CABLE PASS-THRU PANEL 2U W/BRUSH | 63 | 40%
| ETN-CMFD19041U | EATON PATCHLINK HORIZONTAL CABLE MANAGER 1U | 146 | 40%
| ETN-CMFD19042U | EATON PATCHLINK HORIZONTAL CABLE MANAGER 2U | 178 | 40%
| ETN-CMFP19032U | EATON UPPER TRANSITION TRAY 2U X 3.5"D | 136 | 40%
| ETN-CMFP19052U | EATON UPPER TRANSITION TRAY 2U X 5.0"D | 143 | 40%
| ETN-CMLT19032U | EATON LOWER TRANSITION TRAY 2U X 3.5"D | 159 | 40%
| ETN-CMLT19052U | EATON LOWER TRANSITION TRAY 2U X 5.0"D | 160 | 40%
| ETN-CMHD19242U | HIGH DENSITY CABLE ORGANIZER, W/REAR TRANSITION TRAY 24" | 556 | 40%
| ETN-CMHD19302U | HIGH DENSITY CABLE ORGANIZER, W/REAR TRANSITION TRAY 30" | 585 | 40%
| ETN-1032CAGE20 | EATON CAGE NUT #10-32 HARDWARE KIT (QTY-20) | 21 | 40%
| ETN-M6CAGE20 | EATON CAGE NUT M6 HARDWARE KIT (QTY-20) | 21 | 40%
| ETN-LAD1006B | EATON S-SERIES CABLE LADDER RACK 6"W X 10'L BLK | 245 | 40%
| ETN-LAD1012B | EATON S-SERIES CABLE LADDER RACK 12"W X 10'L BLK | 271 | 40%
| ETN-JCMTLDRPD | EATON S-SERIES LADDER RACK BRACKET PERPENDICULAR | 129 | 40%
| ETN-JCMTLDRPR | EATON S-SERIES LADDER RACK BRACKET PARALLEL | 95 | 40%
| ETN-JCMT24SP | EATON S-SERIES DATA CABLE PARTITION PANEL 24" SOLID | 82 | 40%
| ETN-JCMT24PP | EATON S-SERIES DATA CABLE PARTITION PANEL 24" PASS-THRU | 87 | 40%
| ETN-JCMT24PT | EATON S-SERIES POWER CABLE TROUGH 24" | 163 | 40%
| ETN-JCMT30SP | EATON S-SERIES DATA CABLE PARTITION PANEL 30" SOLID | 87 | 40%
| ETN-JCMT30PP | EATON S-SERIES DATA CABLE PARTITION PANEL 30" PASS-THRU | 92 | 40%
| ETN-JCMT30PT | EATON S-SERIES POWER CABLE TROUGH 30" | 185 | 40%
| ETN-JANCHOR1 | EATON S-SERIES FLOOR ANCHOR BRACKETS (S-SERIES) | 234 | 40%
| ETN-ENCRMP30 | EATON STANDARD-DUTY RAMP FOR 30"W RACKS (S-SERIES) | 63 | 40%
ERM | 103005775 | ERM, 120VAC (US) 2-pin power input | 420 | 40%
| 103005912 | ERM, C13/C14, 100-250VAC, 50/60Hz, 3-pin power input | 420 | 40%
| 103005822 | Eaton TH-Module (Black), individual #N/A | 100 | 40%
| 103005780 | ERM Water Leak Detector, 3 ft | 150 | 40%
| 103005894 | ERM Water Leak Detector, 12ft | 260 | 40%
| 103005781 | ERM Door Contact Sensor | 30 | 40%
| 103005782 | ERM Vibration Sensor | 40 | 40%
| 103005783 | ERM Power Supply, 120VAC (US) | 30 | 40%
| 103005779 | ERM Smoke Detector/Alarm (220VAC, IEC C-13) | 150 | 40%
| 103005890 | ERM Smoke Detector/Alarm (110VAC,NEMA 5-15) | 150 | 40%
UPS DEVICES | 3S350 | EATON 3S 350VA US (LOW VOLTAGE) | 93 | 40%
| 3S550 | 550VA US (LOW VOLTAGE) | 116 | 40%
| 3S750 | 750VA US (LOW VOLTAGE) | 167 | 40%
| 5S550 | EATON 5S 550 USB | 170 | 40%
| 5S700 | EATON 5S 700 USB | 188 | 40%
| 5S700LCD | EATON 5S 700 USB LCD | 199 | 40%
| 5S1000LCD | EATON 5S 1000 USB LCD | 242 | 40%
| 5S1500LCD | EATON 5S 1500 USB LCD | 354 | 40%
| 5S700G | EATON 5S 700G | 228 | 40%
| 5S1500G | EATON 5S 1500G | 408 | 40%
| 5P550R | EATON 5P 550 RACK1U | 596 | 40%
| 5P750R | EATON 5P 750 RACK1U | 893 | 40%
| 5P1000R | EATON 5P 1000 RACK1U | 1137 | 40%
| 5P1500R | EATON 5P 1500 RACK1U | 1374 | 40%
| 5P850GR | EATON 5P 850G RACK1U | 1087 | 40%
| 5P1550GR | EATON 5P 1550G RACK1U | 1418 | 40%
| 5P1500RT | EATON 5P 1500 RT2U | 1367 | 40%
| 5P2200RT | KIT=5P2200 + RK 744-A1554-00P | 1846 | 40%
| 5P3000RT | KIT=5P3000 + RK 744-A1554-00P | 2212 | 40%
| 103007018-5591 | 2 POST RACK MOUNTING RAIL KIT | 130 | 40%
| 5P750 | EATON 5P 750 TOWER | 529 | 40%
| 5P1000 | EATON 5P 1000 TOWER | 746 | 40%
| 5P1500 | EATON 5P 1500 TOWER | 928 | 40%
| 5P2200 | EATON 5P 2200 | 1496 | 40%
| 5P3000 | EATON 5P 3000 | 1860 | 40%
| 5P850G | EATON 5P 850G TOWER | 574 | 40%
| 5P1550G | EATON 5P 1550G TOWER | 1006 | 40%
| 5PX1000RT | EATON 5PX 1000 RT2U | 1035 | 40%
| 5PX1500RT | EATON 5PX 1500 RT2U | 1354 | 40%
| 5PX1500RTN | KIT=5PX1500RT+NETWORK-MS | 1845 | 40%
| 5PX2200RT | EATON 5PX 2200 RT2U | 2241 | 40%
| 5PX2200RTN | KIT=5PX2200RT+NETWORK-MS | 2730 | 40%
| 5PX3000RT2U | EATON 5PX 3000 RT2U | 2643 | 40%
| 5PX3000RTN | KIT=5PX3000RT2U+NETWORK-MS | 3135 | 40%
| 5PX3000RT3U | EATON 5PX 3000 RT3U | 2748 | 40%
| 5PX1500iRT | EATON 5PX 1500I RT2U | 1528 | 40%
| 5PX2200iRT | EATON 5PX 2200I RT2U | 2583 | 40%
| 5PX3000iRT2U | EATON 5PX 3000I RT2U | 2995 | 40%
| 5PXEBM48RT | EATON 5PX EBM 48V RT2U | 900 | 40%
| 5PXEBM72RT2U | EATON 5PX EBM 72V RT2U | 1222 | 40%
| 5PXEBM72RT3U | EATON 5PX EBM 72V RT3U | 1345 | 40%
| 103007018-5591 | 2 POST RACK MOUNTING RAIL KIT | 130 | 40%
| 9PX700RT | 9PX UPS, 2U, 700 VA, 630 W, 5-15P input, Outputs: (8) 5-15R, 120V | 1096 | 40%
| 9PX1000RT | 9PX UPS, 2U, 1000 VA, 900 W, 5-15P input, Outputs (8) 5-15R, 120V, Black/silver | 1371 | 40%
| 9PX1500RT | 9PX UPS, 2U, 1500 VA, 1350 W, 5-15P input, Outputs: (8) 5-15R, 120V | 1925 | 40%
| 9PX1500RTN | 9PX UPS, 2U, 1500 VA, 1350 W, 5-15P input, Outputs: (8) 5-15R, 120V, Network card | 2398.75 | 40%
| 9PX2000RT | 9PX UPS, 2U, 2000 VA, 1800 W, 5-20P input, Outputs: (6) 5-20R, (1) L5-20R, 120V | 2424 | 40%
| 9PX2000RTN | 9PX UPS, 2U, 2000 VA, 1800 W, 5-20P input, Outputs: (6) 5-20R, (1) L5-20R, 120V, Network card | 2897.75 | 40%
| 9PX3000RT | 9PX UPS, 2U, 3000 VA, 2700 W, L5-30P input, Outputs: (6) 5-20R, (1) L5-30R, 120V | 4052 | 40%
| 9PX3000RTN | PX UPS, 2U, 3000 VA, 2700 W, L5-30P input, Outputs: (6) 5-20R, (1) L5-30R, 120V, Network card | 4525.75 | 40%
| 9PX3000GLRT | 9PX UPS, 2U, 3000 VA, 3000 W, L6-20P input, Outputs: (2) L6-20R, (1) L6-30R, 208V | 4052 | 40%
| 9PX3000GRT | PX UPS, 2U, 3000 VA, 3000 W, L6-20P input, 208V, Outputs: (8) C13, (2) C19 | 4052 | 40%
| 9PX1000GRT | 9PX UPS, 2U, 1000 VA, 900 W, C14 input, Outputs: (8) C13, 208V | 1371 | 40%
| 9PX1500RT | 9PX UPS, 2U, 1500 VA, 1350 W, C14 input, Outputs: (8) C13, 208V | 1925 | 40%
| 9PX2200GRT | 9PX UPS, 2U, 2200 VA, 2000 W, L6-20P input, Outputs: (8) C13, (2) C19, 208V | 2424 | 40%
| 103007018-5591 | 2 POST RACK MOUNTING RAIL KIT | 130 | 40%
| 9PX5K | 9PX 5K UPS | 6040 | 40%
| 9PX6K | 9PX 6K UPS | 6676 | 40%
| 9PX5KTF5 | KIT: (9PX5K+9PXTFMR5) | 7049 | 40%
| 9PX5KP1 | KIT: (9PX5K+9PXPPDM1) | 7208 | 40%
| 9PX5KP2 | KIT: (9PX5K+9PXPPDM2) | 7208 | 40%
| 9PX6KTF5 | KIT: (9PX6K+9PXTFMR5) | 7672 | 40%
| 9PX6KP1 | KIT: (9PX6K+9PXPPDM1) | 7832 | 40%
| 9PX6KP2 | KIT: (9PX6K+9PXPPDM2) | 7832 | 40%
| 9PXEBM180RT | 9PX 5/6kVA EBM 180V | 1757 | 40%
| EBMCBL180 | 9PX 6FT 6K EBM CABLE | 195 | 40%
| CBLADAPT180 | 9PX 6K EBM ADAPTER CABLE; 9PX to MX or 9135 EBM | 143 | 40%
| RK2PC | 9PX 2-POST RAIL KIT | 130 | 40%
| BINTSYS | 9PX BATTERY INTEGRATION SYSTEM | 578 | 40%
| MBP6K208 | 9PX 6KVA MBP NEMA | 625 | 40%
| PW105BA2U420 | EPDU, 2U, BA, L6-30P (4) L6-20R | 669 | 40%
| ePBZ79 | EATON EPDU BASIC 24A IN: L6-30P OUT: 16 X C13 + 4 X C19 | 360 | 40%
| 9PXTFMR5 | 9PX 5K XMFR, IN: L6-30P; OUT: (18)5-20R | 1152 | 40%
| 9PXPPDM1 | 9PX 6K PPDM 1, L14-30R, L6-30R, (6)5-20R w/ BYPASS | 1315 | 40%
| 9PXPPDM2 | 9PX 6K PPDM 2 - HW IN/OUT w/ BYPASS | 1315 | 40%
| 9PX8KHW | KIT: (9PX8KPM+9PXEBM240RT) | 7742 | 40%
| 9PX8K | KIT: (9PX 8KPM + 9PXEBM240RT + MBP11K208) | 8720 | 40%
| 9PX11KHW | KIT: (9PX11KPM+9PXEBM240RT) | 9048 | 40%
| 9PX11K | KIT: (9PX 11KPM + 9PXEBM240RT + MBP11K208) | 9996 | 40%
| 9PX8KTF5 | KIT: (9PX8KPM + 9PXEBM240RT + MBP11K208 + 9PXTFMR5) | 9849 | 40%
| 9PX11KTF5 | KIT: (9PX11KPM + 9PXEBM240RT + MBP11K208 + 9PXTFMR5) | 11090 | 40%
| 9PX11KTF11 | KIT: (9PX11KPM + 9PXEBM240RT + 9PXTFMR11) | 12240 | 40%
| 9PXEBM240RT | 9PX 8/11kVA EBM 240V | 1749 | 40%
| EBMCBL240 | 9PX 6FT 11K EBM CABLE | 209 | 40%
| CBLADAPT180 | 9PX 6K EBM ADAPTER CABLE; 9PX to MX or 9135 EBM | 143 | 40%
| BINTSYS | 9PX BATTERY INTEGRATION SYSTEM | 578 | 40%
| SC240RT | 9PX 8K/11KVA SUPER CHARGER MODULE | 993 | 40%
| MBP11K208 | 9PX 11KVA MBP NEMA | 998 | 40%
| PW105BA2U420 | EPDU, 2U, BA, L6-30P (4) L6-20R | 669 | 40%
| ePBZ79 | EATON EPDU BASIC 24A IN: L6-30P OUT: 16 X C13 + 4 X C19 | 360 | 40%
| 9PXTFMR5 | 9PX 5K XMFR, IN: L6-30P; OUT: (18)5-20R | 1152 | 40%
| 9PXTFMR11 | 9PX 10kW XMFR, (2)L14-30R, L6-30R, HW | 3360 | 40%
| 9PX8KPM | 9PX 8K POWER MODULE, ELECTRONICS ONLY | 6151 | 40%
| 9PX11KPM | 9PX 11K POWER MODULE, ELECTRONICS ONLY | 7775 | 40%
9155 | K40811000000000 | PW9155 MODEL 8 32 BATTERY | 11295 | 40%
| K40812000000000 | PW9155 MODEL 8 64 BATTERY | 13435 | 40%
| K40813000000000 | PW9155 MODEL 8 32 BATTERY w/TRANS MOD | 15535 | 40%
| K41011000000000 | PW9155 MODEL 10 32 BATTERY | 12960 | 40%
| K41012000000000 | PW9155 MODEL 10 64 BATTERY | 15440 | 40%
| K41013000000000 | 9155-10KVA 208/120V UPS W/XFMR | 17755 | 40%
| K41211000000000 | PW9155 MODEL 12 32 BATTERY | 13630 | 40%
| K41212000000000 | PW9155 MODEL 12 64 BATTERY | 16135 | 40%
| K41213000000000 | PW9155 MODEL 12 64 BATTERY | 18355 | 40%
| K41511000000000 | PW9155 MODEL 15 32 BATTERY | 14810 | 40%
| K41512000000000 | PW9155 MODEL 15 64 BATTERY | 17630 | 40%
| K41513000000000 | PW9155 MODEL 15 32 BATTERY w/TRANS MOD | 19935 | 40%
| 124100017-001 | PW9155 PARALLEL CABINET | 1820 | 40%
| 103004336 | CAN Bridge Card | 589 | 40%
| 103004192-5501 | PW9155 EBM 64 | 6465 | 40%
| 103004193-5501 | PW9155 EBM 96 | 9225 | 40%
| 103004194-5501 | PW 9355 10-15 KVA Seismic Mounting Kit | 2145 | 40%
| 103005425-5591 | KIT MODBUS RS232/485 W/PACKAGING | 661 | 40%
| 1018460 | X-Slot Relay Card for PW 5125, PW 9125, PW9330 | 232 | 40%
| 103003055 | KIT Industrial Relay Card | 372 | 40%
9PXM | 9PXMSPPM | Split-phase Power Module (120/208, 127/220, 110/220, 120/240V In & Out) | 3049 | 40%
| 9PXMBAT | Battery Module (two required per slot/string) | 525 | 40%
| 9PXMCHGR | Optional 20 Amp Charger Module (same form factor as 4 kVA power modules) | 3025 | 40%
| 9PXM08AAXXX | 8-slot enclosure (4, 8, 12 or 16 kVA), Hardwired Input/Output | 4911 | 40%
| 9PXM12AAAAA | 12-slot enclosure (4, 8, 12, 16 or 20 kVA), Hardwired Input/Output | 5460 | 40%
| 9PXMRK | Rack Kit (same for 8 and 12-slot UPS's & EBC's) | 549 | 40%
| 9PXMFAK | Floor Anchoring kit | 328 | 40%
| 9PXM08SEBM | 8-slot external battery enclosure: black | 4515 | 40%
| 9PXM12SEBM | 12-slot external battery enclosure: black | 5250 | 40%
| Network-M2 | Network Card | 379 | 40%
| Relay-MS | Relay-MS Relay Card | 128 | 40%
| BPM125HW | Bypass Power Module - Hardwired Input/Output | 2001 | 40%
| BPM125AR | Bypass Power Module - Hardwired Input/(6) L14-30R + Hardwired | 2952 | 40%
| BPM125BR | Bypass Power Module - Hardwired Input/(3) L14-30R + (3) L6-20R + Hardwired | 2952 | 40%
| BPM125CR | Bypass Power Module - Hardwired Input/(3) L14-30R + (6) C19 + Hardwired | 2952 | 40%
| BPM125DR | Bypass Power Module - Hardwired Input/(3) L14-30R + (6) 5-20R + Hardwired | 2952 | 40%
| BPM125ER | Bypass Power Module - Hardwired Input/(3) L6-30R + (6) 5-20R + Hardwired | 2952 | 40%
| BPM125FR | Bypass Power Module - Hardwired Input/(6) L6-30R + Hardwired | 2952 | 40%
| 9PXM8S4K | 4 kVA expandablet o 16 kVA Preconfigured Hardwired | 9535 | 40%
| 9PXM8S8K | 8 kVA expandable to 16 kVA Preconfigured Hardwired | 13634 | 40%
| 9PXM12S8K | 12 kVA expandable to 16 kVA Preconfigured Hardwired | 14183 | 40%
| 9PXM12S12K | 12 kVA expandable to 16 kVA Preconfigured Hardwired | 18282 | 40%
| 9PXM12S16K | 16 kVA expandable to 16 kVA Preconfigured Hardwired | 22381 | 40%
| 9PXM12S20K | 8 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 26480 | 40%
| 9PXM8S4K-PD | 12 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 9770 | 40%
| 9PXM8S8K-PD | 16 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 13869 | 40%
| 9PXM12S8K-PD | 4 kVA expandable to 16 kVA Preconfigured Hardwired | 14718 | 40%
| 9PXM12S12k-PD | 12 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 18817 | 40%
| 9PXM12S16K-PD | 16 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 22916 | 40%
| 9PXM12S20k-PD | 20 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 27015 | 40%