## Pricing
Eaton
| Manufacturer Part Number | Product Description | MSRP | DIR Discount % | DIR Customer Price
ePDU's | ePBZ78 | EATON EPDU BASIC 24A IN: L5-30P OUT: 20 X 5-20R | 333 | 30% | 234.8483
| ePBZ79 | EATON EPDU BASIC 24A IN: L6-30P OUT: 16 X C13 + 4 X C19 | 360 | 30% | 253.89
| ePBZ82 | EATON EPDU BASIC 16A IN: L5-20/5-20P OUT: 12 X 5-20R | 174 | 30% | 122.7135
| ePBZ83 | EATON EPDU BASIC 12A IN: 5-15P OUT: 12 X 5-15R | 117 | 30% | 82.5142
| ePBZ84 | EATON EPDU BASIC 24A IN: L5-30P OUT: 10 X 5-20R | 292 | 30% | 205.933
| ePBZ85 | EATON EPDU BASIC 16A IN: 5-20P OUT: 12 X 5-20R | 174 | 30% | 122.7135
| ePBZ91 | Eaton ePDU Basic 24A IN: L6-30P OUT: 10 x C13 | 275 | 30% | 193.9438
| ePBZ94 | EPDU VAL BA L6-30 C19-6 | 295 | 30% | 208.0488
| ePBZ95 | EPDU VAL BA L6-20C13-12 C19-1 | 174 | 30% | 122.7135
| PW101BA1U140 | EPDU, BA, 1U, 5-15P, (12) 5-15R | 432 | 30% | 304.668
| PW102BA1U158 | EPDU, BA, 1U, 5-20P, (12) 5-20R | 417 | 30% | 294.0892
| PW102BA1U159 | EPDU, BA, 1U, L5-20P, (12) 5-20R | 440 | 30% | 310.31
| PW103BA1U190 | EPDU, BA, 1U, L5-30P, (12) 5-20R | 461 | 30% | 325.1202
| PW103BA1U405 | EPDU, BA, 1U, C20, (16) C13 | 392 | 30% | 276.458
| PW103BA1U406 | EPDU, BA, 1U, L6-30P, (16) C13 | 576 | 30% | 406.224
| PW105BA2U420 | EPDU, 2U, BA, L6-30P (4) L6-20R | 725 | 30% | 511.3062
| ePBZ71 | EATON EPDU BASIC 16A IN: 5-20P/L5-20R OUT: 30 X 5-15/20R | 341 | 30% | 240.4903
| ePBZ75 | EATON EPDU BASIC 12A IN: 5-15P OUT: 14 X 5-15R | 147 | 30% | 103.6718
| ePBZ80 | EATON EPDU BASIC 24A IN: L6-30P OUT: 30 X C13 + 6 X C19 | 375 | 30% | 264.4688
| ePBZ90 | Eaton ePDU Basic 24A IN: L5-30P OUT: 24 x 5-20R | 354 | 30% | 249.6585
| ePBZ93 | EPDU VAL BA L6-20 C13-20 C19-4 | 305 | 30% | 215.1013
| ePBZ97 | EPDU VAL BA 5-20 5-20-24 | 244 | 30% | 172.081
| EFLXL1500R-PDU1U | EPDU, BA, 1U, 5-15P, (12) 5-15R, (1) C19 | 134 | 30% | 94.5035
| EFLXL2000R-PDU1U | EPDU, BA, 1U, 5-20P, (12) 5-20R | 146 | 30% | 102.9665
| EFLXL2000R-PDU1UL | EPDU, BA, 1U, 5-20P, (5) L5-20R | 181 | 30% | 127.6502
| EHBPL1500R-PDU1U | EPDU, BA, 1U, 5-15P, (6) 5-15R | 321 | 30% | 226.3853
| EHBPL2000R-PDU1U | EPDU, BA, 1U, 5-20P, (6) 5-20R | 384 | 30% | 270.816
| EHBPL3000R-PDU1U | EPDU, BA, 1U, L5-30P, (5) 5-20R | 557 | 30% | 392.8243
Racks | RSV4260B | Enclosure,42U, 600mm W x 1000mm D Black | 2310 | 30% | 1629.1275
| RSV4260W | Enclosure,42U, 600mm W x 1000mm D White | 2310 | 30% | 1629.1275
| RSV4280B | Enclosure,42U, 800mm W x 1000mm D Black | 2834 | 30% | 1998.6785
| RSV4280W | Enclosure,42U, 800mm W x 1000mm D White | 2834 | 30% | 1998.6785
| RSV4560B | Enclosure,45U, 600mm W x 1000mm D Black | 2659 | 30% | 1875.2598
| RSV4560W | Enclosure,45U, 600mm W x 1000mm D White | 2659 | 30% | 1875.2598
| RSV4580B | Enclosure,45U, 800mm W x 1000mm D Black | 3185 | 30% | 2246.2213
| RSV4580W | Enclosure,45U, 800mm W x 1000mm D White | 3185 | 30% | 2246.2213
| RSV4860B | Enclosure,48U, 600mm W x 1000mm D Black | 2893 | 30% | 2040.2883
| RSV4860W | Enclosure,48U, 600mm W x 1000mm D White | 2893 | 30% | 2040.2883
| RSV4880B | Enclosure,48U, 800mm W x 1000mm D Black | 3418 | 30% | 2410.5445
| RSV4880W | Enclosure,48U, 800mm W x 1000mm D White | 3418 | 30% | 2410.5445
| RSV5260B | Enclosure,52U, 600mm W x 1000mm D Black | 3244 | 30% | 2287.831
| RSV5260W | Enclosure,52U, 600mm W x 1000mm D White | 3244 | 30% | 2287.831
| RSV5280B | Enclosure,52U, 800mm W x 1000mm D Black | 3769 | 30% | 2658.0873
| RSV5280W | Enclosure,52U, 800mm W x 1000mm D White | 3769 | 30% | 2658.0873
| ETN-ENC422442SE | EATON S-SERIES RACK 42UX24"X42" NO SIDES, DOORS, CASTORS | 2436 | 30% | 1717.989
| ETN-ENC422442S | EATON S-SERIES RACK 42UX24"X42" W/DIVIDER, CASTORS | 5690 | 30% | 4012.8725
| ETN-ENC422448S | EATON S-SERIES RACK 42UX24"X48" W/DIVIDER, CASTORS | 6152 | 30% | 4338.698
| ETN-ENC423042S | EATON S-SERIES RACK 42UX30"X42" W/DIVIDER, CASTORS | 7573 | 30% | 5340.8583
| ETN-ENC423048S | EATON S-SERIES RACK 42UX30"X48" W/DIVIDER, CASTORS | 6875 | 30% | 4848.5938
| ETN-ENC482442S | EATON S-SERIES RACK 48UX24"X42" W/DIVIDER, CASTORS | 5908 | 30% | 4166.617
| ETN-ENC483042S | EATON S-SERIES RACK 48UX30"X42" W/DIVIDER, CASTORS | 7316 | 30% | 5159.609
| ETN-ENC482448S | EATON S-SERIES RACK 48UX24"X48" W/DIVIDER, CASTORS | 6323 | 30% | 4459.2957
| ETN-ENC483048S | EATON S-SERIES RACK 48UX30"X48" W/DIVIDER, CASTORS | 7917 | 30% | 5583.4642
| ETN-ENC422442SB | EATON S-SERIES RACK 42UX24"X42" W/SIDE PANELS, CASTORS | 6603 | 30% | 4656.7657
| ETN-ENC422442SC | 42UX24"X 42" W/DOORS/SIDES/TOP/LEVELERS (NO CASTORS) | 6354 | 30% | 4481.1585
| ETN-ENC423042SC | 42UX30"X 42" W/DOORS/SIDES/TOP/LEVELERS (NO CASTORS) | 7979 | 30% | 5627.1897
| ETN-ENC422442SD | 42UX24"X 42" W/DOORS/TOP/LEVELERS, NO SIDES/DIVIDER/CASTORS | 4810 | 30% | 3392.2525
| ETN-ENC423042SD | 42UX30"X 42" W/DOORS/TOP/LEVELERS, NO SIDES/DIVIDER/CASTORS | 6255 | 30% | 4411.3387
| ETN-ENC422442SL | 42UX24"X 42" W/DOORS/SIDES/TOP/LEVELERS/CASTORS/COMBO LOCK | 7601 | 30% | 5360.6053
| ETN-ACC4242DP | S-SERIES DIVIDER PANEL 42U X 42D W/PASS-THRU (QTY-1) | 438 | 30% | 308.8995
| ETN-ACC4248DP | S-SERIES DIVIDER PANEL 42U X 48D W/PASS-THRU (QTY-1) | 464 | 30% | 327.236
| ETN-ACC4842DP | S-SERIES DIVIDER PANEL 48U X 42D W/PASS-THRU (QTY-1) | 455 | 30% | 320.8888
| ETN-ACC4848DP | S-SERIES DIVIDER PANEL 48U X 48D W/PASS-THRU (QTY-1) | 484 | 30% | 341.341
| ETN-ACC4242SP | S-SERIES SIDE PANEL 42U X 42D (QTY-1) | 873 | 30% | 615.6832
| ETN-ACC4248SP | S-SERIES SIDE PANEL 42U X 48D (QTY-1) | 984 | 30% | 693.966
| ETN-ACC4842SP | S-SERIES SIDE PANEL 48U X 42D (QTY-1) | 586 | 30% | 413.2765
| ETN-ACC4848SP | S-SERIES SIDE PANEL 48U X 48D (QTY-1) | 849 | 30% | 598.7572
| ETN-ACC2442TP | S-SERIES TOP PANEL 24W X 42D | 610 | 30% | 430.2025
| ETN-ACC2448TP | S-SERIES TOP PANEL 24W X 48D | 637 | 30% | 449.2443
| ETN-ACC3042TP | S-SERIES TOP PANEL 30W X 42D | 648 | 30% | 457.002
| ETN-ACC3048TP | S-SERIES TOP PANEL 30W X 48D | 617 | 30% | 435.1393
| ETN-ACC4224FD | S-SERIES FRONT DOOR 42U X 24W | 746 | 30% | 526.1165
| ETN-ACC4224RD | S-SERIES REAR DOOR SPLIT 42U X 24W | 1191 | 30% | 839.9528
| ETN-ACC4230FD | S-SERIES FRONT DOOR 42U X 30W | 801 | 30% | 564.9052
| ETN-ACC4230RD | S-SERIES REAR DOOR SPLIT 42U X 30W | 1134 | 30% | 799.7535
| ETN-ACC4824FD | S-SERIES FRONT DOOR 48U X 24W | 882 | 30% | 622.0305
| ETN-ACC4824RD | S-SERIES REAR DOOR SPLIT 48U X 24W | 1169 | 30% | 824.4372
| ETN-ACC4830FD | S-SERIES FRONT DOOR 48U X 30W | 923 | 30% | 650.9457
| ETN-ACC4830RD | S-SERIES REAR DOOR SPLIT 48U X 30W | 1222 | 30% | 861.8155
| ETN-ACC4224RL | S-SERIES RAILS 42U X 24W | 600 | 30% | 423.15
| ETN-ACC4230RL | S-SERIES REDUCER RAILS 42U X 30W | 853 | 30% | 601.5782
| ETN-ACC4824RL | S-SERIES RAILS 48U X 24W | 705 | 30% | 497.2012
| ETN-ACC4830RL | S-SERIES REDUCER RAILS 48U X 30W | 1158 | 30% | 816.6795
| ETN-ACC42VBP | S-SERIES VERTICAL BLANKING PANELS 42U | 468 | 30% | 330.057
| ETN-ACC48VBP | S-SERIES VERTICAL BLANKING PANELS 48U | 553 | 30% | 390.0032
| ETN-PBP1U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 1U (QTY-10) | 89 | 30% | 62.7673
| ETN-PBP1U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 1U (QTY-100) | 796 | 30% | 561.379
| ETN-PBP2U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 2U (QTY-10) | 143 | 30% | 100.8508
| ETN-PBP2U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 2U (QTY-100) | 1062 | 30% | 748.9755
| ETN-PBP8U10 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 8U (QTY-10) | 381 | 30% | 268.7002
| ETN-PBP8U100 | EATON BLANKING PANEL 19" TOOL-LESS PLASTIC 8U (QTY-100) | 2864 | 30% | 2019.836
| ETN-JFT12440 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 24" X 42", 120VAC | 523 | 30% | 368.8458
| ETN-JFT12445 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 24" X 48", 120VAC | 570 | 30% | 401.9925
| ETN-JFT13040 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 30" X 42", 120VAC | 544 | 30% | 383.656
| ETN-JFT13045 | TOP FAN TRAY KIT (4 FANS) FOR S-SERIES 30" X 48", 120VAC | 590 | 30% | 416.0975
| ETN-FLRGR118 | EATON FLOOR GROMMET, 11"W X 8.25"D (QTY-1) | 189 | 30% | 133.2922
| ETN-FLRGR11810 | EATON FLOOR GROMMET, 11"W X 8.25"D (QTY-10) | 1770 | 30% | 1248.2925
| ETN-FLRGR76 | EATON FLOOR GROMMET, 7.5"W X 6.5"D (QTY-1) | 167 | 30% | 117.7767
| ETN-FLRGR7610 | EATON FLOOR GROMMET, 7.5"W X 6.5"D (QTY-10) | 1593 | 30% | 1123.4633
| ETN-FS19201U20 | EATON SHELF FIXED 19" 1U X 20"D 200LBS | 216 | 30% | 152.334
| ETN-FS19201U40 | EATON SHELF FIXED 19" 1U X 20"D 400LBS | 223 | 30% | 157.2707
| ETN-FS19241U20 | EATON SHELF FIXED 19" 1U X 24"D 200LBS | 216 | 30% | 152.334
| ETN-FS19241U40 | EATON SHELF FIXED 19" 1U X 24"D 400LBS | 256 | 30% | 180.544
| ETN-FS19281U20 | EATON SHELF FIXED 19" 1U X 28"D 200LBS | 224 | 30% | 157.976
| ETN-FS19281U40 | EATON SHELF FIXED 19" 1U X 28"D 400LBS | 247 | 30% | 174.1967
| ETN-RS19241U10 | EATON SHELF ROLL-OUT 19" 1U X 24"D 100LBS | 868 | 30% | 612.157
| ETN-RS19242U20 | EATON SHELF ROLL-OUT 19" 2U X 24"D 200LBS | 717 | 30% | 505.6642
| ETN-RS19281U10 | EATON SHELF ROLL-OUT 19" 1U X 28"D 100LBS | 759 | 30% | 535.2848
| ETN-RS19282U20 | EATON SHELF ROLL-OUT 19" 2U X 28"D 200LBS | 785 | 30% | 553.6213
| ETN-CHASBKT2032 | EATON CHASSIS SUPPORT BRACKETS ADJ 19" (20"-32") 400 LBS. | 487 | 30% | 343.4567
| EAUS192U1605 | EATON 19" UTILITY SHELF, 2 POST MOUNTING | 191 | 30% | 134.7028
| ETN-LACEB42U03 | EATON S-SERIES LACING BAR 42U X 3"W | 102 | 30% | 71.9355
| ETN-LACEB42U08 | EATON S-SERIES LACING BAR 42U X 8"W | 269 | 30% | 189.7122
| ETN-LACEB42U12 | EATON S-SERIES LACING BAR 42U X 12"W | 287 | 30% | 202.4067
| ETN-LACEB48U03 | EATON S-SERIES LACING BAR 48U X 3"W | 168 | 30% | 118.482
| ETN-LACEB48U08 | EATON S-SERIES LACING BAR 48U X 8"W | 273 | 30% | 192.5333
| ETN-LACEB48U12 | EATON S-SERIES LACING BAR 48U X 12"W | 327 | 30% | 230.6167
| ETN-PWRBAR42U | EATON S-SERIES POWER MOUNTING BAR 42U X 9"W | 243 | 30% | 171.3758
| ETN-PWRBAR48U | EATON S-SERIES POWER MOUNTING BAR 48U X 9"W | 270 | 30% | 190.4175
| ETN-PDUBRCKTW | EATON S-SERIES PDU MOUNTING BRACKETS | 98 | 30% | 69.1145
| ETN-CMDRNR031U | EATON CABLE D-RING KIT 1U (QTY-4) | 53 | 30% | 37.3782
| ETN-CMDRNR032U | EATON CABLE D-RING KIT 2U (QTY-4) | 53 | 30% | 37.3782
| ETN-STLDRING | EATON CABLE D-RING KIT, PLASTIC, (QTY-4) | 228 | 30% | 160.797
| ETN-CMTUNR02 | EATON FIBER SPOOL 2.5"H | 115 | 30% | 81.1038
| ETN-CMTUNR05 | EATON FIBER SPOOL 5"H | 118 | 30% | 83.2195
| ETN-BX45V8 | EATON VELCRO STRAP 8"L, (QTY-50) | 154 | 30% | 108.6085
| ETN-BX45V11 | EATON VELCRO STRAP 11"L, (QTY-50) | 154 | 30% | 108.6085
| ETN-CMVBCKL | EATON VELCRO BUCKLE STRAP 9"L, (QTY-10) | 148 | 30% | 104.377
| ETN-CMVBCKL12 | EATON VELCRO BUCKLE STRAP 12"L, (QTY-10) | 155 | 30% | 109.3138
| ETN-CMRB19022U | EATON CABLE STRAIN RELIEF BAR 2"D | 149 | 30% | 105.0823
| ETN-CMRB19042U | EATON CABLE STRAIN RELIEF BAR 4"D | 156 | 30% | 110.019
| ETN-CMRB19062U | EATON CABLE STRAIN RELIEF BAR 6"D | 163 | 30% | 114.9557
| ETN-CMRB19082U | EATON CABLE STRAIN RELIEF BAR 8"D | 170 | 30% | 119.8925
| ETN-CMPD19031U | EATON HORIZONTAL RING MANAGER 1U | 79 | 30% | 55.7148
| ETN-CMPD19032U | EATON HORIZONTAL RING MANAGER 2U | 85 | 30% | 59.9462
| ETN-CMBPBRSH1U | EATON CABLE PASS-THRU PANEL 1U W/BRUSH | 94 | 30% | 66.2935
| ETN-CMBPBRSH2U | EATON CABLE PASS-THRU PANEL 2U W/BRUSH | 100 | 30% | 70.525
| ETN-CMFD19041U | EATON PATCHLINK HORIZONTAL CABLE MANAGER 1U | 191 | 30% | 134.7028
| ETN-CMFD19042U | EATON PATCHLINK HORIZONTAL CABLE MANAGER 2U | 203 | 30% | 143.1658
| ETN-CMFP19032U | EATON UPPER TRANSITION TRAY 2U X 3.5"D | 192 | 30% | 135.408
| ETN-CMFP19052U | EATON UPPER TRANSITION TRAY 2U X 5.0"D | 202 | 30% | 142.4605
| ETN-CMLT19032U | EATON LOWER TRANSITION TRAY 2U X 3.5"D | 242 | 30% | 170.6705
| ETN-CMLT19052U | EATON LOWER TRANSITION TRAY 2U X 5.0"D | 243 | 30% | 171.3758
| ETN-CMHD19242U | HIGH DENSITY CABLE ORGANIZER, W/REAR TRANSITION TRAY 24" | 843 | 30% | 594.5257
| ETN-CMHD19302U | HIGH DENSITY CABLE ORGANIZER, W/REAR TRANSITION TRAY 30" | 886 | 30% | 624.8515
| ETN-1032CAGE20 | EATON CAGE NUT #10-32 HARDWARE KIT (QTY-20) | 32 | 30% | 22.568
| ETN-M6CAGE20 | EATON CAGE NUT M6 HARDWARE KIT (QTY-20) | 33 | 30% | 23.2733
| ETN-LAD1006B | EATON S-SERIES CABLE LADDER RACK 6"W X 10'L BLK | 266 | 30% | 187.5965
| ETN-LAD1012B | EATON S-SERIES CABLE LADDER RACK 12"W X 10'L BLK | 294 | 30% | 207.3435
| ETN-JCMTLDRPD | EATON S-SERIES LADDER RACK BRACKET PERPENDICULAR | 196 | 30% | 138.229
| ETN-JCMTLDRPR | EATON S-SERIES LADDER RACK BRACKET PARALLEL | 145 | 30% | 102.2613
| ETN-JCMT24SP | EATON S-SERIES DATA CABLE PARTITION PANEL 24" SOLID | 144 | 30% | 101.556
| ETN-JCMT24PP | EATON S-SERIES DATA CABLE PARTITION PANEL 24" PASS-THRU | 152 | 30% | 107.198
| ETN-JCMT24PT | EATON S-SERIES POWER CABLE TROUGH 24" | 266 | 30% | 187.5965
| ETN-JCMT30SP | EATON S-SERIES DATA CABLE PARTITION PANEL 30" SOLID | 152 | 30% | 107.198
| ETN-JCMT30PP | EATON S-SERIES DATA CABLE PARTITION PANEL 30" PASS-THRU | 171 | 30% | 120.5977
| ETN-JCMT30PT | EATON S-SERIES POWER CABLE TROUGH 30" | 301 | 30% | 212.2802
| ETN-JANCHOR1 | EATON S-SERIES FLOOR ANCHOR BRACKETS (S-SERIES) | 254 | 30% | 179.1335
| ETN-ENCRMP30 | EATON STANDARD-DUTY RAMP FOR 30"W RACKS (S-SERIES) | 73 | 30% | 51.4832
ERM | 103005775 | ERM, 120VAC (US) 2-pin power input | 433 | 30% | 305.3732
| 103005912 | ERM, C13/C14, 100-250VAC, 50/60Hz, 3-pin power input | 433 | 30% | 305.3732
| 103005822 | Eaton TH-Module (Black), individual #N/A | 103 | 30% | 72.6407
| 103005780 | ERM Water Leak Detector, 3 ft | 155 | 30% | 109.3138
| 103005894 | ERM Water Leak Detector, 12ft | 268 | 30% | 189.007
| 103005781 | ERM Door Contact Sensor | 31 | 30% | 21.8628
| 103005782 | ERM Vibration Sensor | 42 | 30% | 29.6205
| 103005783 | ERM Power Supply, 120VAC (US) | 31 | 30% | 21.8628
| 103005779 | ERM Smoke Detector/Alarm (220VAC, IEC C-13) | 155 | 30% | 109.3138
| 103005890 | ERM Smoke Detector/Alarm (110VAC,NEMA 5-15) | 155 | 30% | 109.3138
UPS DEVICES | 3S350 | EATON 3S 350VA US (LOW VOLTAGE) | 62 | 30% | 43.7255
| 3S550 | 550VA US (LOW VOLTAGE) | 77 | 30% | 54.3043
| 3S750 | 750VA US (LOW VOLTAGE) | 110 | 30% | 77.5775
| 5S550 | EATON 5S 550 USB | 116 | 30% | 81.809
| 5S700 | EATON 5S 700 USB | 128 | 30% | 90.272
| 5S700LCD | EATON 5S 700 USB LCD | 135 | 30% | 95.2088
| 5S1000LCD | EATON 5S 1000 USB LCD | 162 | 30% | 114.2505
| 5S1500LCD | EATON 5S 1500 USB LCD | 218 | 30% | 153.7445
| 5S700G | EATON 5S 700G | 167 | 30% | 117.7767
| 5S1500G | EATON 5S 1500G | 298 | 30% | 210.1645
| 5SC500 | EATON 5SC 500 TOWER | 209 | 30% | 147.3972
| 5SC750 | EATON 5SC 750 TOWER | 304 | 30% | 214.396
| 5SC1000 | EATON 5SC 1000 TOWER | 347 | 30% | 244.7217
| 5SC1500 | EATON 5SC 1500 TOWER | 448 | 30% | 315.952
| 5P550R | EATON 5P 550 RACK1U | 621 | 30% | 437.9603
| 5P750R | EATON 5P 750 RACK1U | 921 | 30% | 649.5353
| 5P1000R | EATON 5P 1000 RACK1U | 1172 | 30% | 826.553
| 5P1500R | EATON 5P 1500 RACK1U | 1430 | 30% | 1008.5075
| 5P850GR | EATON 5P 850G RACK1U | 1154 | 30% | 813.8585
| 5P1550GR | EATON 5P 1550G RACK1U | 1505 | 30% | 1061.4013
| 5P750RC | EATON 5P 750VA SHORT RACK 2U | 740 | 30% | 521.885
| 5P1000RC | EATON 5P 1000 VA SHORT RACK 2U | 943 | 30% | 665.0507
| 5P1500RC | EATON 5P 1500 VA SHORT RACK 2U | 1204 | 30% | 849.121
| 5P1500RT | EATON 5P 1500 RT2U | 1342 | 30% | 946.4455
| 5P2200RT | KIT=5P2200 + RK 744-A1554-00P | 1969 | 30% | 1388.6372
| 5P3000RT | KIT=5P3000 + RK 744-A1554-00P | 2359 | 30% | 1663.6848
| 5P750 | EATON 5P 750 TOWER | 551 | 30% | 388.5928
| 5P1000 | EATON 5P 1000 TOWER | 740 | 30% | 521.885
| 5P1500 | EATON 5P 1500 TOWER | 901 | 30% | 635.4303
| 5P2200 | EATON 5P 2200 | 1533 | 30% | 1081.1482
| 5P3000 | EATON 5P 3000 | 2084 | 30% | 1469.741
| 5P850G | EATON 5P 850G TOWER | 610 | 30% | 430.2025
| 5P1550G | EATON 5P 1550G TOWER | 1069 | 30% | 753.9122
| 5PX1000RT | EATON 5PX 1000 RT2U | 1036 | 30% | 730.639
| 5PX1500RT | EATON 5PX 1500 RT2U | 1342 | 30% | 946.4455
| 5PX1500RTN | KIT=5PX1500RT+NETWORK-MS | 1849 | 30% | 1304.0073
| 5PX2200RT | EATON 5PX 2200 RT2U | 2329 | 30% | 1642.5273
| 5PX2200RTN | KIT=5PX2200RT+NETWORK-MS | 2836 | 30% | 2000.089
| 5PX3000RT2U | EATON 5PX 3000 RT2U | 2788 | 30% | 1966.237
| 5PX3000RTN | KIT=5PX3000RT2U+NETWORK-MS | 3295 | 30% | 2323.7987
| 5PX3000RT3U | EATON 5PX 3000 RT3U | 2897 | 30% | 2043.1092
| 5PX1500iRT | EATON 5PX 1500I RT2U | 1560 | 30% | 1100.19
| 5PX2200iRT | EATON 5PX 2200I RT2U | 2729 | 30% | 1924.6273
| 5PX3000iRT2U | EATON 5PX 3000I RT2U | 3194 | 30% | 2252.5685
| 5PXEBM48RT | EATON 5PX EBM 48V RT2U | 900 | 30% | 634.725
| 5PXEBM72RT2U | EATON 5PX EBM 72V RT2U | 1271 | 30% | 896.3727
| 5PXEBM72RT3U | EATON 5PX EBM 72V RT3U | 1345 | 30% | 948.5612
| 103007018-5591 | 2 POST RACK MOUNTING RAIL KIT | 134 | 30% | 94.5035
| 9PX700RT | 9PX UPS, 2U, 700 VA, 630 W, 5-15P input, Outputs: (8) 5-15R, 120V | 1158 | 30% | 816.6795
| 9PX1000RT | 9PX UPS, 2U, 1000 VA, 900 W, 5-15P input, Outputs (8) 5-15R, 120V, Black/silver | 1448 | 30% | 1021.202
| 9PX1500RT | 9PX UPS, 2U, 1500 VA, 1350 W, 5-15P input, Outputs: (8) 5-15R, 120V | 2033 | 30% | 1433.7732
| 9PX1500RTN | 9PX UPS, 2U, 1500 VA, 1350 W, 5-15P input, Outputs: (8) 5-15R, 120V, Network card | 2521 | 30% | 1777.9352
| 9PX2000RT | 9PX UPS, 2U, 2000 VA, 1800 W, 5-20P input, Outputs: (6) 5-20R, (1) L5-20R, 120V | 2548 | 30% | 1796.977
| 9PX2000RTN | 9PX UPS, 2U, 2000 VA, 1800 W, 5-20P input, Outputs: (6) 5-20R, (1) L5-20R, 120V, Network card | 3036 | 30% | 2141.139
| 9PX3000RT | 9PX UPS, 2U, 3000 VA, 2700 W, L5-30P input, Outputs: (6) 5-20R, (1) L5-30R, 120V | 4290 | 30% | 3025.5225
| 9PX3000RTN | PX UPS, 2U, 3000 VA, 2700 W, L5-30P input, Outputs: (6) 5-20R, (1) L5-30R, 120V, Network card | 4778 | 30% | 3369.6845
| 9PX3000GLRT | 9PX UPS, 2U, 3000 VA, 3000 W, L6-20P input, Outputs: (2) L6-20R, (1) L6-30R, 208V | 4290 | 30% | 3025.5225
| 9PX3000GRT | PX UPS, 2U, 3000 VA, 3000 W, L6-20P input, 208V, Outputs: (8) C13, (2) C19 | 4290 | 30% | 3025.5225
| 9PX1000GRT | 9PX UPS, 2U, 1000 VA, 900 W, C14 input, Outputs: (8) C13, 208V | 1448 | 30% | 1021.202
| 9PX1500GRT | 9PX UPS, 2U, 1500 VA, 1350 W, C14 input, Outputs: (8) C13, 208V | 2033 | 30% | 1433.7732
| 9PX2200GRT | 9PX UPS, 2U, 2200 VA, 2000 W, L6-20P input, Outputs: (8) C13, (2) C19, 208V | 2548 | 30% | 1796.977
| 9PXEBM48RT | 9PX EBM 48V RT | 1005 | 30% | 708.7763
| 9PXEBM72RT | 9PX EBM 72V RT | 1032 | 30% | 727.818
| 9PX5K | 9PX 5K UPS | 6468 | 30% | 4561.557
| 9PX6K | 9PX 6K UPS | 6980 | 30% | 4922.645
| 9PX5KTF5 | KIT: (9PX5K+9PXTFMR5) | 7544 | 30% | 5320.406
| 9PX5KP1 | KIT: (9PX5K+9PXPPDM1) | 7786 | 30% | 5491.0765
| 9PX5KP2 | KIT: (9PX5K+9PXPPDM2) | 7786 | 30% | 5491.0765
| 9PX6KTF5 | KIT: (9PX6K+9PXTFMR5) | 8092 | 30% | 5706.883
| 9PX6KP1 | KIT: (9PX6K+9PXPPDM1) | 8335 | 30% | 5878.2587
| 9PX6KP2 | KIT: (9PX6K+9PXPPDM2) | 8335 | 30% | 5878.2587
| 9PXEBM180RT | 9PX 5/6kVA EBM 180V | 1865 | 30% | 1315.2912
| EBMCBL180 | 9PX 6FT 6K EBM CABLE | 205 | 30% | 144.5763
| RK2PC | 9PX 2-POST RAIL KIT | 134 | 30% | 94.5035
| MBP6K208 | 9PX 6KVA MBP NEMA | 664 | 30% | 468.286
| 9PXPPDM1 | 9PX 6K PPDM 1, L14-30R, L6-30R, (6)5-20R w/ BYPASS | 1396 | 30% | 984.529
| 9PXPPDM2 | 9PX 6K PPDM 2 - HW IN/OUT w/ BYPASS | 1396 | 30% | 984.529
| 9PX8KHW | KIT: (9PX8KPM+9PXEBM240RT) | 8259 | 30% | 5824.6597
| 9PX8K | KIT: (9PX 8KPM + 9PXEBM240RT + MBP11K208) | 9313 | 30% | 6567.9932
| 9PX11KHW | KIT: (9PX11KPM+9PXEBM240RT) | 9939 | 30% | 7009.4797
| 9PX11K | KIT: (9PX 11KPM + 9PXEBM240RT + MBP11K208) | 10992 | 30% | 7752.108
| 9PX8KTF5 | KIT: (9PX8KPM + 9PXEBM240RT + MBP11K208 + 9PXTFMR5) | 10459 | 30% | 7376.2097
| 9PX11KTF5 | KIT: (9PX11KPM + 9PXEBM240RT + MBP11K208 + 9PXTFMR5) | 12139 | 30% | 8561.0297
| 9PX11KTF11 | KIT: (9PX11KPM + 9PXEBM240RT + 9PXTFMR11) | 13282 | 30% | 9367.1305
| 9PXEBM240RT | 9PX 8/11kVA EBM 240V | 1902 | 30% | 1341.3855
| EBMCBL240 | 9PX 6FT 11K EBM CABLE | 221 | 30% | 155.8603
| CBLADAPT180 | 9PX 6K EBM ADAPTER CABLE; 9PX to MX or 9135 EBM | 151 | 30% | 106.4928
| BINTSYS | 9PX BATTERY INTEGRATION SYSTEM | 608 | 30% | 428.792
| SC240RT | 9PX 8K/11KVA SUPER CHARGER MODULE | 1054 | 30% | 743.3335
| MBP11K208 | 9PX 11KVA MBP NEMA | 1059 | 30% | 746.8597
| 9PXTFMR5 | 9PX 5K XMFR, IN: L6-30P; OUT: (18)5-20R | 1152 | 30% | 812.448
| 9PXTFMR11 | 9PX 10kW XMFR, (2)L14-30R, L6-30R, HW | 3360 | 30% | 2369.64
| 9PX8KPM | 9PX 8K POWER MODULE, ELECTRONICS ONLY | 6398 | 30% | 4512.1895
| 9PX11KPM | 9PX 11K POWER MODULE, ELECTRONICS ONLY | 8086 | 30% | 5702.6515
| 9SX700 | 1030T ETN NEMA 700VA 100/110/120 9SX700 | 1064 | 30% | 750.386
| 9SX1000 | 1050T ETN NEMA 1KVA 100/110/120 9SX1000 | 1337 | 30% | 942.9193
| 9SX1500 | 1060T ETN NEMA 1.5K 100/110/120 9SX1500 | 1858 | 30% | 1310.3545
| 9SX2000 | 1070T ETN NEMA 2KVA 100/110/120 9SX2000 | 2413 | 30% | 1701.7683
| 9SX3000 | 1080T ETN NEMA 3KVA 100/110/120 9SX3000 | 3939 | 30% | 2777.9797
| 9SX1000G | 1053T ETN NEMA 1KVA 208/208 9SX1000G | 1337 | 30% | 942.9193
| 9SX1500G | 1063T ETN NEMA 1.5KVA208/208 9SX1500G | 1858 | 30% | 1310.3545
| 9SX2000G | 1073T ETN NEMA 2KVA 208/208 9SX2000G | 2413 | 30% | 1701.7683
| 9SX3000G | 1083T ETN NEMA 3KVA 208/208 9SX3000G | 3939 | 30% | 2777.9797
| 9SX3000GL | 1083T ETN NEMA 3KVA 208/208 9SX3000GL | 3939 | 30% | 2777.9797
| 9SXEBM36 | BT09032CP1 ETN W/T BAT 1063 9SXEBM36 | 856 | 30% | 603.694
| 9SXEBM48 | BT09042CP1 ETN W/T BAT 1063 9SXEBM48 | 959 | 30% | 676.3347
| 9SXEBM96 | BT090820P1 ETN W/T BAT 1083 9SXEBM96 | 1220 | 30% | 860.405
| 9PX1500RT-L | 9PX 1500 Rack Tower Lithium Ion UPS | 3869 | 30% | 2728.6122
| 9PX1500RTN-L | 9PX 1500 Rack Tower Lithium Ion UPS with Network-M2 | 4357 | 30% | 3072.7742
| 9PX2000RT-L | 9PX 2000 Rack Tower Lithium Ion UPS | 4750 | 30% | 3349.9375
| 9PX2000RTN-L | 9PX 2000 Rack Tower Lithium Ion UPS with Network-M2 | 5238 | 30% | 3694.0995
| 9PX3000RT-L | 9PX 3000 Rack Tower Lithium Ion UPS | 7548 | 30% | 5323.227
| 9PX3000RTN-L | 9PX 3000 Rack Tower Lithium Ion UPS with Network-M2 | 8036 | 30% | 5667.389
| 9PX1500GRT-L | 9PX 1500 Rack Tower Lithium Ion UPS | 3869 | 30% | 2728.6122
| 9PX2200GRT-L | 9PX 2200 Rack Tower Lithium Ion UPS | 4750 | 30% | 3349.9375
| 9PX3000GRT-L | 9PX 3000 Rack Tower Lithium Ion UPS | 7548 | 30% | 5323.227
| 9PXEBM48RT-L | 9PX EBM 48V RT Lithium Ion | 2345 | 30% | 1653.8113
| 9PXEBM72RT-L | 9PX EBM 72V RT Lithium Ion | 2976 | 30% | 2098.824
9155 | K40811000000000 | PW9155 MODEL 8 32 BATTERY | 12000 | 30% | 8463
| K40812000000000 | PW9155 MODEL 8 64 BATTERY | 14290 | 30% | 10078.0225
| K40813000000000 | PW9155 MODEL 8 32 BATTERY w/TRANS MOD | 16540 | 30% | 11664.835
| K41011000000000 | PW9155 MODEL 10 32 BATTERY | 13810 | 30% | 9739.5025
| K41012000000000 | PW9155 MODEL 10 64 BATTERY | 16450 | 30% | 11601.3625
| K41013000000000 | 9155-10KVA 208/120V UPS W/XFMR | 18910 | 30% | 13336.2775
| K41211000000000 | PW9155 MODEL 12 32 BATTERY | 14490 | 30% | 10219.0725
| K41212000000000 | PW9155 MODEL 12 64 BATTERY | 17160 | 30% | 12102.09
| K41213000000000 | PW9155 MODEL 12 64 BATTERY | 19530 | 30% | 13773.5325
| K41511000000000 | PW9155 MODEL 15 32 BATTERY | 15800 | 30% | 11142.95
| K41512000000000 | PW9155 MODEL 15 64 BATTERY | 18790 | 30% | 13251.6475
| K41513000000000 | PW9155 MODEL 15 32 BATTERY w/TRANS MOD | 21240 | 30% | 14979.51
| 124100017-001 | PW9155 PARALLEL CABINET | 1925 | 30% | 1357.6063
| 103004336 | CAN Bridge Card | 618 | 30% | 435.8445
| 103004192-5501 | PW9155 EBM 64 | 6875 | 30% | 4848.5938
| 103004193-5501 | PW9155 EBM 96 | 9825 | 30% | 6929.0813
| 103004194-5501 | PW 9355 10-15 KVA Seismic Mounting Kit | 2275 | 30% | 1604.4438
| 103005425-5591 | KIT MODBUS RS232/485 W/PACKAGING | 681 | 30% | 480.2753
| 103003055 | KIT Industrial Relay Card | 384 | 30% | 270.816
9PXM | 9PXMSPPM | Split-phase Power Module (120/208, 127/220, 110/220, 120/240V In & Out) | 3433 | 30% | 2421.1233
| 9PXMBAT | Battery Module (two required per slot/string) | 581 | 30% | 409.7502
| 9PXMCHGR | Optional 20 Amp Charger Module (same form factor as 4 kVA power modules) | 3304 | 30% | 2330.146
| 9PXM08AAXXX | 8-slot enclosure (4, 8, 12 or 16 kVA), Hardwired Input/Output | 5473 | 30% | 3859.8333
| 9PXM12AAAAA | 12-slot enclosure (4, 8, 12, 16 or 20 kVA), Hardwired Input/Output | 6085 | 30% | 4291.4462
| 9PXMRK | Rack Kit (same for 8 and 12-slot UPS's & EBC's) | 612 | 30% | 431.613
| 9PXMFAK | Floor Anchoring kit | 355 | 30% | 250.3637
| 9PXM08SEBM | 8-slot external battery enclosure: black | 4623 | 30% | 3260.3708
| 9PXM12SEBM | 12-slot external battery enclosure: black | 5409 | 30% | 3814.6973
| Network-M2 | Network Card | 390 | 30% | 275.0475
| Relay-MS | Relay-MS Relay Card | 132 | 30% | 93.093
| BPM125HW | Bypass Power Module - Hardwired Input/Output | 2343 | 30% | 1652.4008
| BPM125AR | Bypass Power Module - Hardwired Input/(6) L14-30R + Hardwired | 3454 | 30% | 2435.9335
| BPM125BR | Bypass Power Module - Hardwired Input/(3) L14-30R + (3) L6-20R + Hardwired | 3454 | 30% | 2435.9335
| BPM125CR | Bypass Power Module - Hardwired Input/(3) L14-30R + (6) C19 + Hardwired | 3454 | 30% | 2435.9335
| BPM125DR | Bypass Power Module - Hardwired Input/(3) L14-30R + (6) 5-20R + Hardwired | 3454 | 30% | 2435.9335
| BPM125ER | Bypass Power Module - Hardwired Input/(3) L6-30R + (6) 5-20R + Hardwired | 3454 | 30% | 2435.9335
| BPM125FR | Bypass Power Module - Hardwired Input/(6) L6-30R + Hardwired | 3454 | 30% | 2435.9335
| 9PXM8S4K | 4 kVA expandablet o 16 kVA Preconfigured Hardwired | 10608 | 30% | 7481.292
| 9PXM8S8K | 8 kVA expandable to 16 kVA Preconfigured Hardwired | 15203 | 30% | 10721.9157
| 9PXM12S8K | 12 kVA expandable to 16 kVA Preconfigured Hardwired | 15815 | 30% | 11153.5288
| 9PXM12S12K | 12 kVA expandable to 16 kVA Preconfigured Hardwired | 20410 | 30% | 14394.1525
| 9PXM12S16K | 16 kVA expandable to 16 kVA Preconfigured Hardwired | 25005 | 30% | 17634.7763
| 9PXM12S20K | 8 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 29600 | 30% | 20875.4
| 9PXM8S4K-PD | 12 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 10843 | 30% | 7647.0257
| 9PXM8S8K-PD | 16 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 15438 | 30% | 10887.6495
| 9PXM12S8K-PD | 4 kVA expandable to 16 kVA Preconfigured Hardwired | 16350 | 30% | 11530.8375
| 9PXM12S12k-PD | 12 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 20945 | 30% | 14771.4612
| 9PXM12S16K-PD | 16 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 25540 | 30% | 18012.085
| 9PXM12S20k-PD | 20 kVA expandable to 20 kVA (N+1) Preconfigured Hardwired | 30135 | 30% | 21252.7088
Software | Network-M2 | Network Card | 390 | 30% | 275.0475
| IPM-MON-15 | IPM- MONITOR up to 15 Node license | 1290 | 30% | 909.7725
| IPM-MON-25 | IPM- MONITOR up to 25 Node license | 2150 | 30% | 1516.2875
| IPM-MON-35 | IPM- MONITOR up to 35 Node license | 3010 | 30% | 2122.8025
| IPM-MON-50 | IPM- MONITOR up to 50 Node license | 4000 | 30% | 2821
| IPM-MON-100 | IPM- MONITOR up to 100 Node license | 8000 | 30% | 5642
| IPM-MON-250 | IPM- MONITOR up to 250 Node license | 19000 | 30% | 13399.75
| IPM-MON-500 | IPM- MONITOR up to 500 Node license | 36000 | 30% | 25389
| IPM-BASIC-15 | IPM- BASIC up to 15 Node license | 1800 | 30% | 1269.45
| IPM-BASIC-25 | IPM- BASIC up to 25 Node license | 2850 | 30% | 2009.9625
| IPM-BASIC-35 | IPM- BASIC up to 35 Node license | 3780 | 30% | 2665.845
| IPM-BASIC-50 | IPM- BASIC up to 50 Node license | 5200 | 30% | 3667.3
| IPM-BASIC-100 | IPM- BASIC up to 100 Node license | 9800 | 30% | 6911.45
| IPM-BASIC-250 | IPM- BASIC up to 250 Node license | 24500 | 30% | 17278.625
| IPM-BASIC-500 | IPM- BASIC up to 500 Node license | 49000 | 30% | 34557.25
| IPM-GOLD-5 | IPM- GOLD up to 5 Node license | 3600 | 30% | 2538.9
| IPM-GOLD-10 | IPM- GOLD up to 10 Node license | 5000 | 30% | 3526.25
| IPM-GOLD-15 | IPM- GOLD up to 15 Node license | 6750 | 30% | 4760.4375
| IPM-GOLD-25 | IPM- GOLD up to 25 Node license | 10000 | 30% | 7052.5
| IPM-GOLD-35 | IPM- GOLD up to 35 Node license | 13300 | 30% | 9379.825
| IPM-GOLD-50 | IPM- GOLD up to 50 Node license | 18000 | 30% | 12694.5
| IPM-GOLD-100 | IPM- GOLD up to 100 Node license | 32000 | 30% | 22568
| IPM-GOLD-250 | IPM- GOLD up to 250 Node license | 60000 | 30% | 42315
| IPM-GOLD-500 | IPM- GOLD up to 500 Node license | 90000 | 30% | 63472.5